|  |  |
| --- | --- |
| **Facility/ Field** |       |
| **LSD:** |       |
| **Name:** |       |
| **Date:** |       |

Volume of water released:       m3

Landowner/occupant consent obtained: [ ]  Yes [ ]  No [ ]  N/A

**Onsite Testing**

|  |  |  |  |
| --- | --- | --- | --- |
| **Parameter** | **Test Method** | **Regulatory Limit** | **Results** |
| pH | Test strip or pH meter | 6.0-9.0 |       |
| Oil & Grease | Visual | No visible sheen |       |
| Chlorides | Test strip | <500mg/L |       |

**Notifications**

|  |  |  |
| --- | --- | --- |
| **Name** | **Date/Time Notified** | **Follow-up required?** |
| Supervisor      |       |       |
| Landowner:      |       |       |
| Other:      |       |       |

**Laboratory Analysis**

Contaminated water must not be released into the environment. If chemical contamination is suspected (i.e. spill/release has occurred, site exhibits poor housekeeping, etc.) contact an approved laboratory and/or environmental consultant to determine what additional sampling and analysis should be conducted.

|  |
| --- |
| **Comments** |
|       |